ELC Des Guide
SECTION  13376
Master - 13376a


SOUND SYSTEM
Refer to the Construction Documents Directive for general editing procedures and for document coordination procedures.

See the Church Sound/Acoustic Directives & Guidelines for additional information regarding the work of this Section.

UPDATE  -  4 Sep 1997

This optional Section is designed to specify the sound system in a building which includes a standard Chapel and/or Cultural Center.

PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install complete and operational sound system as described in Contract Documents.

2.
Assist Sound/Acoustical Consultant with final inspection and equalization of system and provide necessary test equipment for sound system and partition noise isolation tests.  Correct problems discovered during Sound/Acoustical Consultant inspection and equalization.

B.
Related Sections

1.
Division 09  -  Painting behind speaker grille cloth.

2.
Division 16  -  Raceways, device cover plates, equipment & control cabinets, metal speaker enclosures, fittings, and audio cables.

3.
Sound/Acoustical Consultant will perform final equalization, system balance, inspection, and instruct local leaders in operation of system.

 1.2
SYSTEM DESCRIPTION
A.
Performance Requirements

1.
Installations with equalizers shall meet following performance parameters as measured in 1/3 octave bands -

a.
From 100 Hz to 2 kHz, flat within plus or minus 2 dB.

b.
Above 2 kHz, slope down along an approximate 3 dB per octave slope to 8 kHz.

2.
Sound pressure levels at 4 kHz octave band shall not deviate more than plus or minus 2 dB in Chapel or Cultural Center.

a.
Levels in Overflow and Cultural Center shall equal level in Chapel plus between 3 and 4 dB when signal originates from Chapel.

b.
When driven to maximum output, clipping shall first occur in power amplifiers.

c.
No noise, hum, RFI pickup or distortion shall be audible under normal operating conditions.

3.
Sound systems shall reproduce program material at level of 80 to 85 dBA without audible distortion.

4.
Sound masking system shall provide adequate speech privacy in Corridor such that conversation in Office at slightly raised voice levels cannot be understood in Corridor.

 1.3
SUBMITTALS
A.
Product Data  -  Manufacturer's data sheet for each item of equipment to be supplied.  Include sketch showing layout of equipment in equipment cabinet.

B.
Closeout Submittals

1.
Operations & Maintenance Data -

a.
In addition to requirements of Section 01700, provide list of portable equipment items showing quantity, make, model, and serial numbers.

b.
Include following items supplied by Sound/Acoustical Consultant at time of final inspection -

1)
System operating instructions

2)
System maintenance instructions

3)
Sound system documentation form

 1.4
WARRANTY
A.
Provide complete warranty repair or replacement for one year at no cost to Owner, except in case of obvious abuse.  If failure causes Chapel or Cultural Center sound system to be inoperative or unusable for its intended purpose, Installer, when notified of problem before Wednesday, shall repair system so it will be operational and usable by following Sunday.  If defective components cannot be repaired in time, furnish and install temporary loaner equipment as required.

B.
Honor component warranties for term established by Manufacturer, if greater than one year.

PART 2 PRODUCTS
 2.1
APPROVED MANUFACTURERS
A.
Components as shown on Drawings from following Manufacturers.  No substitution allowed without approval of written request submitted to Sound/Acoustical Consultant through Architect.

1.
Altec Lansing  -  (405) 324-5311

2.
Atlas / Soundolier  -  (314) 349-3110

3.
Audio-Technica  -  (216) 686-2600

4.
Belden Wire  -  (317) 983-5200

5.
B G W  -  (213) 973-8090

6.
Comtek  -  (801) 466-3463

7.
Conquest  -  (708) 534-0390

8.
Crown  -  (219) 294-8000

9.
E F I  -  (801) 977-9009

10.
EIKI International  -  (714) 457-0200

11.
Electro-Voice  -  (616) 695-6831

12.
Hubbel  -  (203) 337-3100

13.
IRP (Industrial Research Products)  -  (312) 439-3600

14.
IVIE  -  (801) 224-1800

15.
IWE (Industry West Electronics)  -  (801) 226-1000

16.
JBL  -  (818) 893-8411

17.
Leviton  -  (718) 229-4040

18.
Lowell  -  (314) 781-9058

19.
Neutrik  -  (609) 327-3113

20.
ProCo  -  (800) 253-7360

21.
ProSound  -  (800) 421-2471

22.
QSC  -  (800) 854-4079

23.
Radio Design Laboratory  -  (805) 684-5415

24.
Ramko  -  (916) 635-3600

25.
Shure  -  (708) 866-2200

26.
Sola  -  (Newark Electronics)

27.
Sound Tech  -  (714) 738-7373

28.
Switchcraft  -  (312) 792-2700

29.
TOA Electronics  -  (415) 588-2538

30.
Triad  -  (Newark Electronics)

31.
University Sound  -  (818) 362-9516

32.
White  -  (512) 389-3800

33.
Wireworks  -  (201) 686-7400

PART 3 EXECUTION
 3.1
APPROVED INSTALLERS
A.
Specified installers are to both furnish and install components of sound system.

1.


2.


3.


4.


5.


 3.2
PREPARATION
A.
Verify compliance of following items before beginning sound system installation

1.
No cables spliced except at standard barrier terminal blocks.

2.
Cables marked at each end with permanent wire labels such as Brady or equal.

3.
Isolated ground run back to main electrical panel from sound equipment cabinet.

4.
Specified conduit, cables, speaker enclosures and equipment cabinets are properly installed.

5.
Location and angle of speaker cabinets.

B.
Ensure that no solid structural or decorative member impedes sound propagation from speakers and that no member with cross section greater than 3/4 inch is placed in front of speakers.

 3.3
INSTALLATION
A.
Speakers

1.
Confirm polarity of speaker before installation and wire to maintain uniform polarity.

2.
Employ no positive stop in rotation of speaker volume controls.  Controls shall be capable of infinite number of rotations either direction.

3.
Mount transformers with screws securely to speaker brackets or enclosures.  Adjust torsion springs as necessary to securely support speaker assembly.

4.
Neatly mount speaker grilles, panels, connector plates, control panels, etc., tight, plumb, and square unless indicated otherwise on drawings.

5.
Provide brackets, screws, adapters, springs, rack mounting kits, etc, recommended by manufacturer for correct assembly and installation of speaker assemblies and electronic components.

6.
Cables -

a.
Make speaker cable connections with rosin core solder or wire nut or equivalent connections.

b.
Terminate conductors with proper mating connectors.  Do not use adapters.  Use proper crimp tool as recommended by Manufacturer of terminations, i.e., spade lugs, TV connectors, etc.  Use ratcheting crimp tools for spade lugs and Molex pins.

7.
Loosely but completely fill speaker back boxes that do not have fiberglass installed with specified fiberglass.

8.
Seal cone speakers to backbox so air will not pass from one side of speaker to other. 

B.
Equipment Cabinet

1.
Assure sufficient ventilation for adequate cooling of equipment.

2.
Mount amplifiers at top of equipment cabinet.  Install blank rack panels in unused spaces.  Install vent panels at top and bottom and above each power amplifier.

3.
Install equalizers immediately below power amplifiers and separated from amplifiers by vent panel.

4.
Securely fasten equipment plumb and square in place.  Where equipment is installed in rack cabinets, utilize all fastening holes and cover open spaces with perforated panels.

5.
Securely fasten relays and small components.  Do not use sticky-back tape for mounting heavy components or cable bundles larger than 1/2 inch in diameter.

6.
Install balancing transformer on each unbalanced input or output that connects to device outside equipment cabinet, or that connects to balanced input or output within equipment cabinet.

7.
Connect powered components to 120 VAC outlets on voltage suppressor power bars.  Do not connect to outlets on other components.

8.
Identification -

a.
Legibly identify user operated system controls and system input/output jacks using engraved, permanently attached laminated plastic plates, imprinted Lexan labels, or Brother type labels.  Label equipment and controls within equipment cabinet using similar labels.

b.
Affix label to outside of cabinet listing name and telephone number of installer.  Appropriate warranty instructions may be included.

9.
File smooth all exposed rough edges after cutting and drilling.  Do not allow sharp screws to protrude to outside of cabinet.

C.
Pulpit 

1.
Install pulpit microphone preamplifier to be accessible below lectern.  Do not alter factory supplied microphone cable and connectors.

2.
Install pulpit microphone base so front of microphone head is 2 inches inside of lectern back edge.

D.
Cables -

1.
Leave sufficient service loops of uniform length on cables to allow operation of system with chassis outside cabinet.

2.
Do not parallel or branch cables and lines except at standard barrier terminal blocks using spade lugs.

3.
Secure cables to equipment cabinet with wire ties to ensure neat installation.  Do not use double-stick tape or sticky-back cable anchors.  Keep speaker level, line level, and microphone level cables in separate runs and bundles.

4.
Ground one end of each shielded cable.  Make grounded connections at device input.

5.
Build out and terminate interconnections with resistors only as required.

6.
Connect spade lugs to cables by soldering or by securely crimping with controlled duty cycle (ratcheting) crimpers of the proper size.

 3.4
FIELD QUALITY CONTROL
A.
Installer Testing

1.
Upon completion of installation and prior to final equalization performed by Sound/Acoustical Consultant, perform following -

a.
Conduct complete system tests and make necessary corrections for proper system operation including, but not limited to, following -

1)
Test system for -

a)
Output level uniformity.

b)
Polarity.

c)
Freedom from hum and noise.

d)
Freedom from shock, strain excited hum, oscillation, or noise.

e)
Loose parts and poor construction or soldering.

f)
Clipping, hum, noise, and RFI with overflow, peripheral speakers, Cultural Center system, and Children's Meeting Room system connected to Chapel system.

g)
Measure speaker line impedances, verify that they are proper, and correct any problems.

2)
Sweep speaker systems with high level sine wave or 1/3 octave pink noise source.  Correct any causes of buzzes or rattles except external causes.  Notify Contractor and Sound/Acoustical Consultant of external causes of buzzes or rattles.

b.
Rough Balance & Equalization -

1)
Adjust system controls to approximate final operation specified in Article 1.2 above.

2)
Pre-set levels throughout system.  Where remote mixers are used, pre-set mixer input levels so system may be operated without remote control for small assemblies, dance classes, etc.

2.
Complete pretest check list and data sheet provided by Sound/Acoustical Consultant.  Submit to Consultant 5 days minimum prior to Sound/Acoustic Consultant's inspection.

B.
Sound/Acoustical Consultant Inspection & Equalization

1.
Coordinate final inspection schedule with Sound/Acoustical Consultant two weeks minimum prior to Consultant's final inspection.

2.
Have copy of red-lined record documents available at time of inspection.

3.
Have loose equipment (microphones, cables, etc.) available at time of inspection.

4.
Assist Sound/Acoustical Consultant in final inspection of completed system.

5.
Assist Sound/Acoustical Consultant in noise isolation testing of folding partitions and office doors.

6.
Provide following test equipment in good working order -

a.
Battery operated hand-held 1/3 octave real-time audio spectrum analyzer with SPL meter and precision microphone.

b.
100 ft microphone cable for separating real-time analyzer and microphone.

c.
Digitally generated random pink noise generator, 20Hz-20KHz, minimum 2 hr repetition rate.

d.
Direct reading audio impedance meter, minimum 3 frequencies, 10 percent accuracy.

e.
Digital Volt-Ohmmeter.

f.
Audio oscillator, variable frequency, 20Hz-20KHz.

g.
Compact disc player with high impedance head phones and discs with pre-recorded speech and music program material.

h.
Battery operated oscilloscope, 1 MHz minimum bandwidth.

i.
Necessary chargers, cables, test leads, adapters, power strip, etc, for test equipment.

7.
Correct minor items so Sound/Acoustical Consultant may certify satisfactory completion during his visit.

8.
Pay Consultant's additional fees and expenses if building or system have not been completed properly or sufficiently, requiring Sound/Acoustical Consultant to make subsequent visits to balance, equalize, inspect, or certify completion.

 3.5
ADJUSTING
A.
Sound Masking Systems

1.
Set amplifier tone controls to FLAT.

2.
Adjust sound pressure level to lowest level in range from 42 dBA to 46 dBA which provides adequate speech privacy in Corridor.  Verify that conversation in Office at slightly raised voice levels cannot be understood in Corridor.

3.
Do not exceed 46 dBA.  If this level is not adequate to provide privacy, check smoke gaskets on Office doors and have Gasket Installer readjust them for proper seal.  If privacy still cannot be obtained, contact Sound/Acoustical Consultant.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

Project Number
7
13376

Project Name
Project Date
Sound System


