ELC Des Guide
SECTION  13376
Supplement - 13376b


SOUND SYSTEM
Refer to the Construction Documents Directive for general editing procedures and for document coordination procedures.

See the Church Sound\Acoustic Directives & Guidelines for additional information regarding the work of this Section.

UPDATE  -  4 Sep 1997

This optional Section is designed to specify the sound system work in a building which does not have a standard Chapel or Cultural Center, or where no work is being done to the sound system in the existing Chapel or Cultural Center.

If the sound system work is so minor that a Sound/Acoustic consultant will not be required but approved installers will still be used, delete reference to the consultant from this Section.

If the sound system work is so minor that neither a sound/acoustic consultant nor approved installers will be used, incorporate the relevant information from this Section into Section 16811 and delete this Section entirely.

PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install complete and operational sound system as described in Contract Documents.

2.
Assist Sound/Acoustical Consultant with final inspection and equalization of system and provide necessary test equipment for sound system and partition noise isolation tests.  Correct problems discovered during Sound/Acoustic Consultant inspection and equalization.

B.
Related Sections

1.
Division 09  -  Painting behind speaker grille cloth.

2.
Division 16  -  Raceways, device cover plates, equipment & control cabinets, metal speaker enclosures, fittings, and audio cables.

3.
Sound/Acoustical Consultant will perform final equalization, system balance, inspection, and instruct local personnel in operation of system.

 1.2
SYSTEM DESCRIPTION
A.
Performance Requirements

1.
Sound pressure levels at 4 kHz octave band shall not deviate more than plus or minus 2 dB.

a.
When driven to maximum output, clipping shall first occur in power amplifiers.

b.
No noise, hum, RFI pickup or distortion shall be audible under normal operating conditions.

2.
Sound systems shall reproduce program material at level of 80 to 85 dBA without audible distortion.

3.
Sound masking system shall provide adequate speech privacy in Corridor such that conversation in Office at slightly raised voice levels cannot be understood in Corridor.

 1.3
SUBMITTALS
A.
Product Data  -  Include Manufacturer's data sheet for each item of equipment and drawing of equipment rack layout.

B.
Record Drawings  -  Include impedance of speaker lines measured with audio frequency impedance meter.

C.
Closeout Submittals

1.
Operations & Maintenance Data  -  In addition to requirements of Section 01700, provide list of equipment items showing quantity, make, model, and serial numbers.  Indicate if items are installed or portable.

 1.4
WARRANTY
A.
Provide complete warranty repair or replacement for one year at no cost to Owner, except in case of obvious abuse.

B.
Honor component warranties for term established by Manufacturer, if greater than one year.

PART 2 PRODUCTS
 2.1
APPROVED MANUFACTURERS
A.
Components as shown on Drawings from following Manufacturers.  No substitution allowed without approval of written request submitted to Project Sound/Acoustical Consultant through Architect.

1.
Altec Lansing  -  (405) 324-5311

2.
Atlas / Soundolier  -  (314) 349-3110

3.
Audio-Technica  -  (216) 686-2600

4.
Belden Wire  -  (317) 983-5200

5.
B G W  -  (213) 973-8090

6.
Comtek  -  (801) 466-3463

7.
Conquest  -  (708) 534-0390

8.
Crown  -  (219) 294-8000

9.
E F I  -  (801) 977-9009

10.
Electro-Voice  -  (616) 695-6831

11.
IRP (Industrial Research Products)  -  (312) 439-3600

12.
IVIE  -  (801) 224-1800

13.
IWE (Industry West Electronics)  -  (801) 226-1000

14.
JBL  -  (818) 893-8411

15.
Leviton  -  (718) 229-4040

16.
Lowell  -  (314) 781-9058

17.
Neutrik  -  (609) 327-3113

18.
ProSound  -  (800) 421-2471

19.
QSC  -  (800) 854-4079

20.
Sound Tech  -  (714) 738-7373

21.
Switchcraft  -  (312) 792-2700

22.
TOA Electronics  -  (415) 588-2538

23.
Triad  -  (Newark Electronics)

24.
University Sound  -  (818) 362-9516

25.
White  -  (512) 389-3800

26.
Wireworks  -  (201) 686-7400

PART 3 EXECUTION
 3.1
APPROVED INSTALLERS
A.
Specified installers are to both furnish and install components of sound system.

1.


2.


3.


4.


 3.2
PREPARATION
A.
Verify compliance of following items before beginning sound system installation

1.
No cables spliced except at standard barrier terminal blocks.

2.
Cables marked at each end with permanent wire labels such as Brady or equal.

3.
Specified conduit, cables, speaker enclosures and equipment cabinets are properly installed.

4.
Location and angle of speaker cabinets.

B.
Ensure that no solid structural or decorative member impedes sound propagation from speakers and that no member with cross section greater than 3/4 inch is placed in front of speakers.

 3.3
INSTALLATION
A.
Speakers & Lines

1.
Employ no positive stop in rotation of speaker volume controls.  Controls shall be capable of infinite number of rotations either direction.

2.
Seal cone speakers to backbox so air will not pass from one side of speaker to other. 

3.
Confirm polarity of speaker before installation and wire to maintain uniform polarity.

4.
Make speaker cable connections with rosin core solder or wire nut or equivalent connections.

5.
Mount transformers with screws securely to speaker brackets or enclosures.  Adjust torsion springs as necessary to securely support speaker assembly.

6.
Neatly mount speaker grilles, panels, connector plates, control panels, etc, tight, plumb, and square unless indicated otherwise on Drawings.

7.
Provide brackets, screws, adapters, springs, rack mounting kits, etc, recommended by manufacturer for correct assembly and installation of speaker assemblies and electronic components.

8.
Terminate conductors with proper mating connectors.  Do not use adapters.  Use proper crimp tool as recommended by Manufacturer of terminations, ie, spade lugs, TV connectors, etc.  Use racheting crimp tools for spade lugs and Molex pins.

9.
Loosely but completely fill speaker back boxes that do not have fiberglass installed with specified fiberglass.

B.
Amplifier & Electronics

1.
Leave sufficient service loops of uniform length on cables to allow operation of system with chassis outside cabinet.

2.
Assure sufficient ventilation for adequate cooling of equipment.

3.
Legibly identify user operated system controls and system input/output jacks using engraved, permanently attached laminated plastic plates or imprinted Lexan labels.  Label equipment and controls within equipment cabinet using similar labels or 'Kroy' type labels.

4.
Do not parallel or branch cables and lines except at standard barrier terminal blocks using spade lugs.

5.
Secure cables to rack with wire ties to ensure neat installation.  Keep speaker level, line level, and microphone level cables in separate runs and bundles.

6.
Ground one end of each shielded cable.  Make grounded connections at device input.

7.
Build out and terminate interconnections with resistors only as required.

8.
Connect spade lugs to cables by soldering or by securely crimping with compression type crimpers.

9.
Securely fasten equipment plumb and square in place.  Where equipment is installed in rack cabinets, utilize all fastening holes and cover open spaces with perforated panels.

10.
Anchor components and cables securely to equipment cabinets.  Do not use sticky-back tape for fasteners.

11.
Affix label to outside of rack listing name and telephone number of installer.  Appropriate warranty instructions may be included.

 3.4
FIELD QUALITY CONTROL
A.
Installer Testing

1.
Upon completion of installation and before final equalization performed by Sound/Acoustical Consultant, perform following -

a.
Conduct complete system tests and make necessary corrections for proper system operation including, but not limited to, following -

1)
Test system for -

a)
Output level uniformity.

b)
Polarity.

c)
Freedom from hum and noise.

d)
Freedom from shock, strain excited hum, oscillation, or noise.

e)
Loose parts and poor construction or soldering.

f)
Clipping, hum, noise, and RFI with adjacent classrooms connected.

g)
Measure speaker line impedances, verify that they are proper, and correct any problems.

2)
Sweep speaker systems with high level sine wave or 1/3 octave pink noise source.  Correct any causes of buzzes or rattles except external causes.  Notify Contractor and Sound/Acoustical Consultant of external causes of buzzes or rattles.

b.
Rough Balance and Equalization -

1)
Adjust system controls to approximate final operation specified in Article 1.2 above.

2)
Pre-set levels throughout system.

2.
Complete pretest check list and data sheet provided by Sound/Acoustical Consultant.  Submit to Consultant at Sound/Acoustic Consultant inspection.

B.
Sound/Acoustic Consultant Inspection & Equalization

1.
Coordinate final inspection schedule with Sound/Acoustical Consultant two weeks minimum prior to Consultant's final inspection.

2.
Have copy of red-lined record documents available at time of inspection.

3.
Have loose equipment, microphones, cables, etc, available at time of inspection.

4.
Assist Sound/Acoustical Consultant in final inspection of completed system.

5.
Provide following test equipment in good working order -

a.
Battery operated hand-held 1/3 octave real-time audio spectrum analyzer with SPL meter and precision microphone.

b.
Digitally generated random pink noise generator, 20Hz-20KHz, minimum 2 hr repetition rate.

c.
Direct reading audio impedance meter, minimum 3 frequencies, 10 percent accuracy.

d.
Digital Volt-Ohmmeter.

e.
Audio oscillator, variable frequency, 20Hz-20KHz.

f.
Battery operated oscilloscope, 1 MHz minimum bandwidth.

g.
Necessary chargers, cables, test leads, adapters, power strip, etc, for test equipment.

6.
Correct minor items so Sound/Acoustical Consultant may certify satisfactory completion during his visit.

7.
Pay Consultant's additional fees and expenses if building or system have not been completed properly or sufficiently, requiring Sound/Acoustical Consultant to make subsequent visits to balance, equalize, inspect, or certify completion.

 3.5
ADJUSTING
A.
Sound Masking Systems

1.
Set amplifier tone controls to FLAT.

2.
Adjust sound pressure level to lowest level in range from 42 dBA to 46 dBA which provides adequate speech privacy in Corridor.  Verify that conversation in Office at slightly raised voice levels cannot be understood in Corridor.

3.
Do not exceed 46 dBA.  If this level is not adequate to provide privacy, check smoke gaskets on Office doors and have Gasket Installer readjust them for proper seal.  If privacy still cannot be obtained, contact Sound/Acoustical Consultant.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

Project Number
6
13376

Project Name
Project Date
Sound System


