
SECTION  15765
Supplement - 15765


CABINET HEATER
Refer to the Construction Documents Directive for general editing procedures and for document coordination procedures.

See the Church Mechanical Directives & Guidelines for additional information regarding the work of this Section.

UPDATE  -  1 May 1996

PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install cabinet heaters as described in Contract Documents.

B.
Related Sections

1.
Section 15055  -  General Mechanical Requirements

2.
Section 15100  -  Building Services Piping and installation

PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Cabinet Heater

1.
Floor mounted, upflow discharge, 16 gauge steel cabinet, complete with inlet and outlet grilles, key lock access doors for valves and controls.  Heating coil shall be hot water type and factory equipped with -

a.
Fan speed control 'OFF-HIGH-MEDIUM-LOW'

b.
Internal adjustable thermostat

2.
Fan shall be forward curved with double inlet, mounted on motor shaft, and dynamically and statically balanced.

3.
Provide access panels for servicing motor and fans.

4.
Multi-speed fan motor shall be factory lubricated, have internal overload protection, and be resiliently mounted.

5.
Approved Manufacturers -

a.
Trane

b.
Airtherm

PART 3 EXECUTION  -  Not Used


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

Project Number
1
15765

Project Name
Project Date
Cabinet Heaters


