
SECTION  15769
Supplement - 15769


ELECTRIC RADIANT WALL HEATERS
Refer to the Construction Documents Directive for general editing procedures and for document coordination procedures.

See the Church Mechanical Directives & Guidelines for additional information regarding the work of this Section.

UPDATE  -  1 May 1996

Use of electric heaters of this type is not generally preferred unless shown on a Standard Plan or with prior written approval by the Mechanical Group of A & E Services.

PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install wall heaters as described in Contract Documents.

B.
Related Sections

1.
Section 15055  -  General Mechanical Requirements

2.
Division 16  -  Electrical service and connections

 1.2
QUALITY ASSURANCE
A.
Regulatory Requirements  -  Units shall be UL listed and comply with NEC.

PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Wall Heaters

1.
Fan type for recess mounting in wall.

2.
20 gauge minimum sheet metal casing.

3.
Heating element shall be encased in steel finned casting and protected by thermal switch.

4.
Fan motor shall be heavy duty enclosed and permanently lubricated.

5.
Fan shall be precision balanced and fan-motor assembly mounted to be vibration free.

6.
Units shall be controlled automatically by integral thermostat when heater is in 'ON' position.

7.
Heater shall have built-in fan delay.

8.
Finish  -  Baked-on enamel.

9.
Approved Manufacturers -

a.
Q' Mark AWH-4000 or equal by

b.
Berko

c.
Raywall

d.
Thermador

PART 3 EXECUTION  -  Not Used


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

Project Number
1
15769

Project Name
Project Date
Electric Radiant Wall Heaters


