SECTION 01090 

DEFINITIONS AND STANDARDS

Part 1 -  GENERAL

1.01 DEFINITIONS

A. General: Basic Contract definitions are included in the General Conditions.

B. Indicated refers to graphic representations, notes or schedules on the Drawings, or other Paragraphs or Schedules in Specifications, and similar requirements in Contract Documents.  Where terms such as "shown", "noted", "scheduled", and "specified" are used, it is to help locate the reference; no limitation on location is intended except as specifically noted.

C. Approve: The term "approved", where used in conjunction with the Owner/Engineer's action on the Contractor's submittals, applications, and requests, is limited to the responsibilities and duties of the Owner/Engineer stated in General and Supplementary Conditions.  Such approval shall not release the Contractor from responsibility to ftdfill Contract requirements unless otherwise provided in the Contract Documents.

D. Regulation: The term "Regulations" includes laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, as well as rules, conventions and agreements within the construction industry that control performance of the Work, whether lawfully imposed by authorities having jurisdiction or not.

E. Furnish: The term "Furnish" is used to mean "supply and deliver to the Project site, ready for unloading, unpacking, assembly, installation, and similar operations".

F. Install: The term "install" is used to describe operations at project site including the actual "unloading, unpacking, assembly erection, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning and similar operations".

G. Provide: The term "provide" means "to fumish and install, complete and ready for the intended use".

H. Installer: An "Installer" is the Contractor or an entity engaged by the Contractor, either as an employee, subcontractor or sub-subcontractor for performance of a particular construction activity, including installation, erection, application and similar operations.  Installers are required to be experienced in the operations they are engaged to perform.

1. The term "experienced", when used with the term "Installer" means having a minimum of 5 previous Projects similar in size and scope to this Project, being familiar with the precautions required, and having complied with requirements of the authority having jurisdiction.

I. Project Site is the space available to the Contractor for performance of construction activities, either exclusively or in conjunction with others performing other construction activities as part of the Project.  The extent of the Project Site is shown on the Drawings and may or may not be identical with the description of the land upon which the Project is to be built.

J. Testing Laboratories: A "testing laboratory" is an independent entity engaged to perform specific inspections or tests, either at the Project Site or elsewhere, and to report on, and, if required, to interpret, results of those inspections or tests.

1.02 SPECIFICATION FORMAT AND CONTENT EXPLANATION

A. Specification Format: These Specifications are organized into Divisions and Sections based on the Construction Specifications Institute's 16-Division format.

B. Specification Content: This specification uses certain conventions in the use of language and the intended meaning of certain terms, words, and phrases when used in particular situations or circumstances.  These conventions are explained as follows:

1. Abbreviated Language: Language used in the Specifications and other Contract Documents is the abbreviated type.  Implied words and meanings will be appropriately interpreted.  Singular words will be interpreted as plural and plural words interpreted as singular where applicable and where the full context of the Contract Documents so indicates.

2. Imperative and streamlined language is used generally in the Specifications.  Requirements expressed in the imperative mood are to be performed by the Contractor.  At certain location in the text, for clarity, subjective language is used to describe responsibilities that must be fulfilled indirectly by the Contractor, or by others when so noted.

C. Assignment of Specialists: The specification requires that certain specific construction activities shall be performed by specialists who are recognized experts in the operations to be performed.  The specialists must be engaged for those activities, and the assignments are requirements over which the Contractor has no choice or option.  Nevertheless, the ultimate responsibility for fulfilling Contract requirements remains with the Contractor.

1. This requirement shall not be interpreted to conflict with enforcement of building codes and similar regulations governing the Work.  It is also not intended to interfere with local trade union jurisdictional settlements and similar conventions.

2. Trades: Use of titles such as "Electrician" is not intended to imply that certain construction activities must be performed by accredited or unionized individuals of a corresponding generic name, such as "Electrician".  It also does not imply that requirements specified apply exclusively to tradespersons of the corresponding generic name.

1.03 INDUSTRY STANDARDS

A. Applicability of Standards: Except where Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Docwnents.  Such standards are made a part of the Contract Documents by reference.  Individual Sections indicate which codes and standards the Contractor must keep available at the Project Site for reference.

B. Publication Dates: Where the date of issue of a referenced standard is no,t specified, comply with the standard in effect as of date of Contract Documents.

C. Conflicting Requirements: Where compliance with two or more standards is specified, and they establish different or conflicting requirements for minimum quantities or quality levels, the most stringent requirement will be enforced, unless the Contract Documents indicate otherwise.  Refer requirements that are different, but apparently equal, and uncertainties as to which quality level is more stringent to the Owner/Engineer for a decision before proceeding.

1. Minimum Quantities or Quality Levels: In every instance the quantity or quality level shown or specified shall be the minimum to be provided or performed.  The actual installation may comply exactly, within specified tolerances, with the minimum quantity or quality specified, or it may exceed that minimum within reasonable limits.  In complying with these requirements, indicated numeric values are minimum or maximum values, as noted, or appropriate for the context of the requirements.  Refer instances of uncertainty to the Owner/Engineer for decision before proceeding.

D. Copies of Standards: Each entity engaged in construction on the Project is required to be familiar with industry standards applicable to that entities' construction activity.  Copies of applicable standards are not bound with the Contract Documents.

1. Where copies of standards are needed for performance of a required construction activity, the Contractor shall obtain copies directly from the publication source.

E. Abbreviations and Names: Trade association names and titles of general standards are frequently abbreviated.  The following acronyms or abbreviations as referenced in Documents are defined to mean the associated names.  Names and addresses are subject to change, and are believed to be, but are not assured to be, accurate and up-to-date as of date of Contract Documents:

1. AASHTO
- American Association of State Highway and Transportation Officials; 444 North Capitol St., Suite 225, Washington, DC 20001; (202) 624-5800

2. ACI - American Concrete Institute;  P.O. Box 19150 Detroit, MI 48219; (313) 532-2600

3. ACIL - American Council of Independent Laboratories; 1725 K Street, NW, Washington, DC 20006; (202) 887-5872

4. A.I.A. - American Insurance Association;  85 John St. New York, NY 10038; (212) 669-0400

5. AISI - American Iron and Steel Institute;  1133 Fifteenth St., NW; Washington, DC 20005; (202) 452-7100

6. ANSI - American National Standards Institute; 1430 Broadway, New York, NY 10018; (212)354-3300

7. 0ASME - American Society of Mechanical Engineers; 345 East 47th St., NewYork, NY 10017; (212) 705-7722

8. ASPE - American Society of Plumbing Engineers; 3617 Thousand Oaks Blvd., Suite 210, Westlake, CA 91362; (805) 495-7120

9. ASSE - American Society of Sanitary Engineering; P.O. Box 40362, Bay Village, OH 44140; (216) 835-3040

10. ASTM - American Society for Testing and Materials; 1916 Race St., Philadelphia, PA 19103; (215) 299-5400

11. AWS - American Welding Society; P.O. Box 351040, 550 Le Jeune Road NW, Miami, FL 33135;
(305) 443-9353

12. AWWA - American Water Works Association; 6666 W. Quincy Ave., 
Denver, CO 80235; (303) 794-7711

13. BOCA - Building Officials and Code Administrators; International, Inc., 4051 W. Flossmoor Road, Country Club Hills, IL 60477; (708) 799-2300

14. CRSI - Concrete Reinforcing Steel Institute; 933 Plum Grove Road, Schaumburg, IL 60195; (312) 490-1700

15. EIA - Electronic Industries Association; 2001 Eye Street, NW, Washington, DC 20006; (202) 457-4900

16. ETL - ETL Testing Laboratories, Inc.; P.O. Box 2040, Route I 1, Industrial Park, Cortland, NY 13045; (607) 753-6711

17. FM
 - Factory Mutual Engineering and Research; 1151 Boston-Providence Turnpike, Norwood, MA 02062;
(617) 762-4300

18. ICEA - Insulated Cable Engineers Association, Inc.; P.O. Box P, South Yarmouth, MA 02664; (617) 394-4424

19. IEC - International Electrotechnical Commission (Available from ANSI); 1430 Broadway, New York, NY 10018; (212) 354-3300

20. IEEE - Institute of Electrical and Electronic Engineers; 345 E. 47th St., New York, NY 10017; (212) 705-7900

21. IESNA - Illuminating Engineering Society of North America; 345 E. 47th St., New York, NY 10017; (212) 705-7926

22. LPI - Lightning Protection Institute; P.O. Box 458, Harvard, IL 60033;
(815) 943-7211

23. MBMA - Metal Building Manufacturer's Association; 1230 Keith Building, Cleveland, OH 44115; (216) 241-7333

24. MCAA - Mechanical Contractor's Association of America; 5410 Grosvenor Lane; Suite 120, Bethesda, MD 20814; (301) 897-0770

25. NCMA - National Concrete Masonry Association; P.O. Box 781, Herndon, VA 22070; (703) 435-4900

26. NEC - National Electrical Code (from NFPA)

27. NECA - National Electrical Contractors Association; 7315 Wisconsin Ave., Bethesda, NO 20814; (301) 657-3110

28. NEMA - National Electrical Manufacturers Association; 21 01 L St., NW; Suite 300, Washington, DC 20037; (202) 457-8400

29. NFPA - National Fire Protection Association; Batterymarch Park, Quincy, MA 02269; (617) 770-3000

30. NPCA - National Paint and Coatings Association; 1500 Rhode Island Ave., N.W., Washington, DC 20005, (202) 462-6272

31. PDI - Plumbing and Drainage Institute (c/o Austin 0. Roche, Jr.); 1106 W. 77th St., South Dr., Indianapolis, IN 46206; (317) 251-6970

32. UL - Underwriters Laboratories; 333 Pfingsten Rd., Northbrook, IL 60062; (312) 272-8800

33. WRI - Wire Reinforcement Institute; 8361 -A Greensboro Drive, McLean, VA 22102; (703) 790-9790

Part 2 -  PRODUCTS (Not Used).

Part 3 -  EXECUTION (Not Used).

End of Section

