SECTION 01400 - QUALITY CONTROL

PARTI-GENERAL

1.1
SECTION INCLUDES

A.
Quality assurance and control of installation.

B.
References.

C.
Inspection and testing laboratory services.

D.
Manufacturers' field services and reports.

1.2
QUALITY ASSURANCE AND CONTROL OF INSTALLATION

A.
Monitor quality control over suppliers, manufacturers, products, services, site conditions, and workmanship, to produce Work of specified quality.

B.
Comply fully with manufacturers' instructions, including each step in sequence.

C.
Should manufacturers' instructions conflict with Contract Documents, request clarification from Owner/Engineer before proceeding.

D.
Comply with specified standards as a minimum quality for the Work except when more stringent tolerances, codes, or specified requirements indicate higher standards or more precise workmanship.

E.
Perform work by persons qualified to produce workmanship of specified quality.

F.
Secure Products in place with positive anchorage devices designed and sized to withstand stresses, vibration, physical distortion or disfigurement.

1.3
REFERENCES

A.
Conform to reference standard by date of issue current on date of Contract Documents where no date is specified with standard.

B.
Obtain copies of standards when required by Contract Documents.

C.
Should specified reference standards conflict with Contract Docwnents, request clarification from Owner/Engineer before proceeding.

D.
The contractual relationship of the parties to the Contract shall not be altered from the Contract Documents by mention or inference otherwise in any reference document.

1.4
INSPECTION AND TESTING LABORATORY SERVICES

A.
Owner will appoint, employ, and pay for services of an independent firm to perfon-n inspection and testing.

B.
The independent firm will perform inspections, tests, and other services specified in individual specification Sections and as required by the Owner/Engineer.

C.
Reports will be submitted by the independent firm to the Owner/Engineer and to the Owner, indicating observations and results of tests, and indicating compliance or non-compliance with Contract Documents.

D.
Cooperate with independent firm; furnish samples of materials, design mix, equipment, tools, storage and assistance as requested.

1 .
Notify Owner/Engineer and independent firm 48 hours prior to expected time for operations requiring services.

2.
Make arrangements with independent firm and pay for additional samples and tests required for Contractor's use.

E.
Retesting required because of non-conformance to specified requirements shall be performed by the same independent firm on instructions by the Owner/Engineer.  Payment for retesting will be charged to the Contractor by deducting inspection or testing charges from the Contract Sum/Price.

1.5
MANUFACTURERS'FIELD SERVICES AND REPORTS

A.
Submit qualifications of observer to Owner/Engineer 30 days in advance of required observations.  Observer subject to approval of Owner/Engineer and Owner.

B.
When specified in individual specification Sections, require material or Product suppliers or manufacturers to provide qualified staff personnel to observe site conditions, conditions of surfaces and installation, quality of workmanship, start-up of equipment, test, adjust, and balance of equipment and record data as applicable, and to initiate instructions when necessary.

C.
Individuals to report observations and site decisions or instructions given to applicators or installers that are supplemental or contrary to manufacturers' written instructions.

D.
Submit report within 30 days of observation to Owner for review.

PART2-PRODUCTS

Not Used.

PART 3 – EXECUTION

Not used.

END OF SECTION 01400

