
HGW.REVPRIVATE 

GENERAL WORK
NOTE:  FINAL COPY:  AUGUST 3, 1989.

Part 1 - 
SUMMARY OF WORK


1)
GENERAL



A.
The following requirements are part of the Contract and shall apply to all work under the Contract.  This section of the specifications includes certain items o a general nature that apply to the work as a whole.  Such requirements shall also apply to, and be made part of, each section of the specifications, as they are applicabl to the work of this section



B.
The requirements of this section do not supersede or take precedence over any provision of the General Conditions or Supplementary General Conditions, and should any discrepancy becom apparent between these requirements and the General Conditions or Supplementary General Conditions, the Contractor shall notify the Architect, in writing, and the Architect shall interpret and decid such matters in accordance with the applicable provisions of th General Conditions



C.
This Section includes all labor, materials, equipment and services required to complete General Work for all Sections of the Specifications as shown in the Contract Drawings, including but not necessarily limited to, the conditions herei specified

Part 2

seq level1 \h \r0 

seq level2 \h \r0  - 
ALTERATION PROCEDURES


1)
GENERAL



A.
Present Work, Equipment and Occupied Spaces ‑ The building will be occupied and used during alterations and additions.  At all times, guard Owner's property and employees from injur or loss in connection with performance of this contract.  Al work shall be performed in such manner as not to interfere wit the functions and business of the Owner.  Passage shall no be obstructed to or from any part of the existing building



B.
Personnel in the employ of the Contractor, or any of his Subcontractors, either directly or indirectly, are prohibited from using any existing facilities remaining in operation, or trespassing in and about such existing facilities without express premission.  The Contractor shall be responsible for enforcing the Owner's rules in this regard



C.
Workmen creating nuisances directed toward occupants of the building or anyone in the employ of the Owner shall be subject to dismissal by the Contractor, at the order of the Owner or the Architect



D.
All openings, cut in walls, floors or ceilings of existing building, for conduit, pipe or ductwork, shall be closed off with box type temporary protective enclosures of 1/2 in. transite or any equally noncombustible material, except when mechanics are actually working at the particular opening. Enclosures shall be constructed of 2 in. x 4 in. frame, 4 sides, covered and made completely dust‑tight



E.
Provide maintenance men, during working hours, whose only function shall be to keep all parts of premises under work and adjacent to occupied parts of the building, free from dust and loose dirt by cleaning with vacuum cleaners of approved heavy duty commercial type, and by damp mopping.  These areas shall be kept in a condition satisfactory to Owner



F.
Contractor shall employ every available method to reduce noise during construction to a minimum and shall handle materials and rubbish to produce the least amount of dust.  All rubbish shall be removed from premises by means of dustproof containers or approved dustproof chutes



G.
Provide sufficient number of workmen to remove materials and rubbish due to cutting, altering, patching and demolition, and at all times keep building and surrounding areas free from rubbish and dirt caused by Contractor's and/or his Subcontractors' employees.  During entire progress of work, rubbish removal shall be made as frequently (at least daily) with such care as deemed necessary by Owner and in accordance with requirements of Fire Department


2)seq level2 \h \r0 
PROTECTION OF EXISTING AREAS



A.
Where work entails alterations in or adjacent to existing spaces, protect the Owner's equipment, apparatus other property and all adjacent work by mean of temporary partitions and enclosures to seal off occupied areas and spaces above hung ceilings, in such a manner that the contract work may be expeditiously performed without affecting the operation of Owner's personnel and equipment



B.
Wherever polyethylene is used it shall be fireretardant polyethylene sheet, .004 in. thick translucent "Rebco" as manufactured by Ralph E. Baker Co., Inc. 545 N. Arlington Ave., E. Orange N.J. 07017.  Product must be identified by 1 in. high trademarks and 3/4 in. letters printed continuously along one edge of the sheet in a contrasting color and reading as follows: "REBCO FIRE RETARDANT PLASTIC SHEETING"



C.
All protection shall be subject to the Owner's approval and shall remain in place until work is completed and no longer required.  Before starting removal of any protection, the area, shall be thoroughly cleaned of debris, dirt and dust, employing a vacuum cleaner in addition to conventional methods of gathering or picking up bulk quantities of refuse


3)seq level2 \h \r0 
PROTECTIVE EQUIPMENT



A.
Personnel engaged in harzardous work shall wear applicable protective equipment as set forth below, and shall be the responsibility of the General Contractor to enforce the use of this equipment at all times



B.
Protective headgear shall be worn at the job site during the construction of any work.



C.
Protective eyeglasses, goggles, or shields shall be worn when personnel are engaged in welding or work involving possible flying particles.  Protective respirators, aprons, shoes, or other applicable protective appliances shall also be worn at appropriate times by the Workmen



D.
Protective safety headgear and eyeshields shall comply with applicable portions of ANSI Z87.1, 88.2, 89.1 and 90.1


4)seq level2 \h \r0 
SAFETY PRECAUTIONS



A.
Recommendations and provisions of ANSI Bulletin A10.2‑1994 and OSHA shall be compiled with insofar as applicable to the building construction work


5)seq level2 \h \r0 
PROTECTION AND RESTORATION OF PROPERTY



A.
The Contractor shall be responsible for all damage or injury to the existing work, of any character, resulting from any act, omission, neglect or misconduct in his manner or method of executing his work, or due to his nonexecution of said work, or at any time to defective work or materials and said responsibility will not be release until the corrective work has been completed and accepted



B.
The Contractor shall restore at his own expense such property to a condition similar or equal to that existing before such damage or injur was done, by repairing, rebuilding or otherwise restoring, as may b directed, or he shall make good such damage or injury in an acceptabl manner


6)seq level2 \h \r0 
SERVICES



A.
Provide for, and maintain in operation all existing services affected by alteration, and restore all such services, if damaged



B.
Remove all temporary services and other temporary items upon completion of the alteration, or when directed by the Owner


7)seq level2 \h \r0 
TEMPORARY LIGHT AND POWER



A.
Provide temporary electric power connections and wiring for motors and welding apparatus used during construction, and temporary electri lighting for all portions of work where artificial light is required t properly carry on the work where artificial light is required t properly carry on the work of all trades.  Owner will supply current to be used.  Make necessary connections and furnish necessary wiring, lamp and sockets.  Verify current characteristics.  Use of gasoline torche will not be permitted.  All proposed connections to existing panelboard shall be approved by Owner before being made



B.
The work shall conform to all Federal, State and municipal requirements including but not limited to the National Electric Code, the National Safet Code and OSHA


8)seq level2 \h \r0 
TEMPORARY WATER AND TOILETS



A.
Water for construction purposes may be taken from existing metered building supply but Contractor shall file a certificate with the Wate Department testifying that water so used is metered and pay all fees charges, or costs in connection with obtaining permits for use of water



B.
The Owner will assign facilites for use by employees on the work. The facilities shall be kept in clean and sanitary condition at all times.  They shall be cleaned at the end of each work day



C.
Telephone ‑ At beginning of work, install coin box type public telephone in Contractor's office on premises for use of all engage on the work and continue this service until project completion.  Th Contractor may provide such additional telephome service fo own use as he may desire



D.
Construction Facilities ‑ Furnish and maintain as long as necessary, be responsible for safety of, and remove whe no longer required, equipment such as temporary stairs, ladders, ramps scaffolds, etc., as required for proper execution of work.  Al such apparatus, equipment and construction shall conform wit all requirements of authorities having jurisdiction


9)seq level2 \h \r0 
MAINTENANCE



A.
All temporary facilities shall be maintained and kept in good operating condition.  Maintenance men necessary to perform this work shall be provided in accordance with requirements.  Maintenance tim will include allowance for normal working days for all trade from 7:30 a.m. to 5:00 p.m



B.
In the event any Subcontractor works, other than his normal working hours, he shall be responsible to the Genera Contractor for all standby costs incurred

Part 3

seq level1 \h \r0 

seq level2 \h \r0  - 
BASIC REQUIREMENTS


1)
GENERAL



A.
Before submitting a Proposal, the Contractor shall carefully examine the Drawings and Specifications, visit the site of th work, and become thoroughly familiar with all existing conditions and limitations.  The submission of a Proposal will be construed as evidence that such an examination ;has been made and later claim for labor, equipment or materials required or for difficulties encountered, which could have been foreseen had such an examinatio been made, will not be recognized


2)seq level2 \h \r0 
COMPRESSED AIR



A.
Compressors driven by internal combustion engines will not be permitted inside of building


3)seq level2 \h \r0 
EXPLOSIVE OR POWER DRIVEN FASTENERS



A.
Explosive or power driven fasteners or pins shall not be seen on this project for fastening any items to concrete, masonry steel or any other surface of the building structure


4)seq level2 \h \r0 
WELDING



A.
Handling and storage of welding materials, acetylene and oxygen tanks, burners and other equipment required for executio of welding and cutting work shall be subject at all times t approval of Owner.  Welders, welding and efquipment shal conform to American Welding Society's Code for Welding i Building Construction AWS D1.0 latest edition and the applicable local and state laws and building ordinances.  In cas of conflict, latter shall govern.  Welding shall be done by electric arc method with covered electrodes



B.
Welding, burning and cutting operations in occupied building, shall be subject to the following requirements




1.
Owner notified 24 hours before welding is to be started.  No work started until protection facilities have been approved and written permi issued by Owner for work to proceed, with protectio facilities maintained during operations at same quality leve as approved, or permit will be rescinded




2.
"Fire Watchers" must be present.  These may be members of crew, other than individuals doing welding or cutting, equipped with asbestos blankets and fire extinguisher, and for small speces, with bucket of water and dippers to protect surrounding areas




3.
Provide protection of surrounding areas by non‑combustible shields, tarpaulins and floor finish protection.  When workin in shafts, if sparks cannot be prevented from falling more ;than one story, provide an additional fire watch at bottom of shaft during weldin burning, or cutting operations




4.
No oxygen or acetylene tanks shall be stored within building overnight or at any time when welding or burning is not in progress.  Remov welding materials and gas tanks promptly from premises upon completion of welding and cutting work


5)seq level2 \h \r0 

seq level3 \h \r0 
CONTRACTOR'S STORAGE SPACE



A.
Storage space shall be located within the confines of the work area.  Do not encroach beyond space assigned and maintai this space in clean condition.  Contractor shall be responsibl for security of stored materials and equipment


6)seq level2 \h \r0 
FIRE EXTINGUISHERS



A.
Provide and place one 2‑1/2 gallon air pressure type, antifreeze, Underwriter's approved fire extinguisher for each 1,500 square feet or fraction thereof, as soon as flammable materials are on site.  Han extinguishers on plywood backboards painted red, strapped t columns with center six feet above floor.  Do not place materials o equipment to obstruct access to fire extinguishers



B.
Inspect each extinguisher at least once a month during construction period and affix dated tag certifying adequac of charge and workability of extinguisher



C.
Extinguishers shall remain property of Contractor and shall be removed at completion of contract.  Do not us Owner's present fire extinguishers to satisfy requirements of specifications


7)seq level2 \h \r0 
TIME AND MANNER



A.
As time is of the essence of this contract, furnish labor and materials in sufficient quantities and in ample time, do al expediting and scheduling of work required and so manage th operation that work will be completed within the time stated i the contract, plus any extensions thereof approved by Owne in writing.  Extensions to the completion time as ststed in the contract shall be granted by Owner in accordance wit terms Article 8 of the "General Conditions Of The Contrac For Construction."  Inclement weather, however, shall not b accepted as valid reason for requesting extension of time because Contractor shall be held to have taken weather int account in preparation of his zaccepted proposal



B.
Do all work as expeditiously as possible and in a manner not to interfere with business of Owner and building occupants.  Befor undertaking the work submit an outline and graphic schedule o proposed procedures to Owner for approval in order that Owne may plan for an accommodate necessary arrangements to permi work to be done.  Progress schedule shall indicate the anticipate time when the work on each trade is expected to be started an to be completed.  At least once a month during the constructio period the schedule shall be revised and resubmitted to sho the dates when the work of each trade actually was begun and complete and any extensions to the original schedule approved ty the Owner.  I shall be submitted by means of a reproducible as herei specified for shop drawings



C.
Exercise care at all times to maintain cleanliness in operations, avoid fire and accident hazards and remove inflammabl debris promptly.  Keep premises clean of construction dirt, dus and debris and maintain conditions acceptable to Owner at al times.  All work shall also be performed in strict conformit with OSHA requirements



D.
It shall be assumed that work is to be done in single shifts during normal working hours,, except as may be expressly specifie otherwise herein, or the Contractor may elect to work at his ow expense in order to comply with the completion date stated i the contract.  If work outside of normal working hour (other than that herein specified) is ordered by Owner, additiona cost thereof will be paid by Owner accordance with terms of contract



E.
Drawings herein mentioned and accompaning these specifications are intended to indicate general arrangements of work, and excep where specific details are shown, Contractor shall make al reasonable modifications in arrangement, without cost to Owner as required for proper execution of the work and/or avoi conflicts with existing construction, piping, electrical work ductwork, equipment, etc.



F.
It shall be the specific responsibility of the Contractor to advise his Subcontractors what responsibility each has in s scheduling and performing his work to conform to establishe progress schedule and contract completion date approved b the Owner.  All specified wiring and sequence of operatio diagrams shall be mounted at building and all required manual and instructions shall have been submitted in approved conditio in advance of final inspection so that Owner can accep the work at the time and assume responsibility of operation an maintaining systems



G.
Removal of rubbish and equipment and bringing in equipment and new materials such as concrete, ductwork, piping plywood and forms and sheet rock and studs shall be handled, a much as possible, by hoisting outside the building.  Whe approved by the Owner, upon 24 hour notice, the handling ma be through the elevator before 8:00 a.m. and after 6:00 p.m., a no extra premium time.  Elevator used shall be protected an kept clean.  Transportation of materials through halls an stairways may be done with special permission of the Owner.  Buildin stairways used shall be kept clear, clean and serviceabl to the Owner at all times



H.
Use elevators by Contractor shall be at his own risk.  Owner will not be responsible for elevator failures.  Contractor shal be responsible for any damage caused by his personnel or tha of any of his sub‑contractors


8)seq level2 \h \r0 
BUILDING SECURITY



A.
The Contractor shall comply with the regulations established by the Owner relative to building security, identification of th Contractor's employees and access to the various spaces in the building



B.
The Contractor shall be responsible to protect his materials stored in the building



C.
The Owner insists that all personnel observe the highest standards of conduct and the Contractor shall ensure that all his personne conduct themselves in a manner which will not bring discredi upon the Contractor or the Owner


9)seq level2 \h \r0 
DAILY CONSTRUCTION REPORT



A.
The Contractor shall provide the Owner's Field Representative with three legible copies of the Contractor's Daily Constructio Report.  The Report shall describe the weather conditions, lis the type and number of mechanics and workmen on the job and provide a brief description of the work kthey are doing.  Submit report o a bi‑weekly basis.


10)seq level2 \h \r0 
CUTTING, PATCHING AND REMOVAL WORK




1.
In addition to lthe work described under "Cutting and Patching" in GENERAL CONDITIONS of the contract for construction, th Contractor shall perform all work herein described




2.
Comply with all applicable laws and ordinances.




3.
Perform all cutting, patching and removals.




4.
Where installation of piping, or eqipment requires removal of construction, Contractor shall provide opening to permit such installation.  When completed, Contractor shal reinstall all phases of affected work to original status properl framed and adequately supported subject to approva of Architect.  Damaged material must be replaced




5.
Patch all surfaces disturbed as a result of this alteration including work affected by temporary protection




6.
Patching, piecing out and extending of work in present building shall be performed in manner similar to new work b skilled mechanics, using material, design, quality, size, colo and finish of existing adjacent work except when otherwise called for




7.
Replace all materials damaged under this alteration.




8.
Provide proper support at all new openings in existing walls and partition, subject to Owner's approval




9.
Including total coast of all material and labor for all cutting, patching, and removal work.  Additional compensatio will not be considered unless specifically stated i writing at time of bidding. 

