Section 16XXX

Lightning Protection

Part 1. GENERAL

1.1 WORK INCLUDED

1. Work in this Section includes the providing of labor, materials, equipment and services necessary for a complete and safe installation in accordance with the contract documents and all applicable codes and authorities having jurisdiction including Master Label requirements for a system of air terminals, conductors, ground rods and accessories

1.2 RELATED WORK AND REQUIREMENTS

A. Requirements of GENERAL CONDITIONS, DIVISION No. 1 and Section GENERAL PROVISIONS FOR ELECTRICAL WORK apply to all work in this Section

NOTE:    EDIT TO SUIT PROJECT REQUIREMENTS.  INCLUDE ONLY SECTIONS DIRECTLY AFFECTING WORK OF THIS SECION

B. Related work in the following Sections:

1. RACEWAYS.

2. POWER, CONTROL AND ALARM WIRING SYSTEMS.

3. GROUNDING SYSTEM.

4. DEVICES.

5. -------------------------------------.

1.3 REFERENCE STANDARDS

A. Published Specifications' standards, tests or recommended methods of trade, industry or governmental organizations apply to work in this Section

B. Comply with all applicable national, state and local codes and refer to Section GENERAL PROVISIONS FOR ELECTRICAL WORK for additional Reference Standards

1.4 QUALITY ASSURANCE

A. Regulatory requirements:  Comply with ANSI, NEMA, and UL Standards and NFPA Code No. 78

B. Installer qualifications:  An experienced installer shall be designated as a field supervisor responsible for installation work and shall be present at the job site during working hours

C. Installation shall be done under the supervision of a Lighting Protection Institute Master Installer

D. Refer to Section GENERAL PROVISIONS FOR ELECTRICAL WORK for Guarantee and other Quality Assurance requirements

1.5 SUBMITTALS

A. Manufacturers' model numbers, sizes and types only need be submitted as "Shop Drawings" for items marked with an asterisk when base specification material and equipment will be provided.  Submit shop drawings including catalog cuts, layout of system and installation details

Part 2. PRODUCTS

2.1 BASE BID MANUFACTURER

A. Heary Bros, Thomson and Independant.

2.2 AIR TERMINALS

A. Provide ----- inch high, ----- inch diameter air terminals contructed of

TERM

1. Nickel-plated solid copper.

2. Bronze.

3. Solid aluminum.

TERM

2.3 CONDUCTORS

A. Provide ----- strands, ----- gauge.

1. Provide copper cable.

NOTE:    USE ONLY WITH ALUMINUM TERMINALS.

2. Provide aluminum cable with compression type connections

B. Provide conductors similar to -----.

2.4 GROUND RODS

A. Provide ----- ft. long, ----- inch diameter, copper weld ground rods

2.5 GROUND PLATES

A. Provide ----- ft. by ----- ft. ground plates, constructed of

PLATE

1. No. 20 gauge sheet copper.

2. ----- inch thick copper bronze.

PLATE

NOTE:    CAST BRONZE FOR COPPER SYSTEM AND CAST ALUMINUM FOR ALUMINUM SYSTEM

2.6 CONNECTORS

A. Provide  -----, solderless pressure type with stainless steel bolts and nuts

2.7 AIR TERMINAL FASTENERS

A. Provide two bolts type for parapet mounting and stamped plate, adhesive mounting type for flat roof areas

Part 3. EXECUTION

3.1 INSTALLATION

A. Comply with requirements for UL master label.

B. Install conductors above roof level exposed.

C. Install conductors below roof level, including down conductors, concealed within building structure and installed in galvanized rigid steel conduit

D. Run conductors as straight as building conditions permit avoiding sharp bends

E. Install air terminals spaced 20 ft. apart maximum around outside perimeter of roof and as required to provide coverage of 50 sq. ft. per terminal on flat portion of roof

F. Provide roof penetrations with pitch pockets.

G. For equipment connection, bond metal bodies projecting above roof to conductor system with laterals and approved fittings.  Bond metals of conductance subject to direct lightning stroke to system using same size cable as roof conductors

3.2 TESTS

A. Complete installation shall be free of open conductors and high resistance connections

B. Master label inspection verification shall be provided.

END OF SECTION

Company

Lightning Protection

Project Name
16XXX-1
September 13, 2000

