

SECTION  16055



GENERAL ELECTRICAL REQUIREMENTS
Refer to the Construction Documents Directive for general editing procedures and for document coordination procedures.

See the Church Electrical Directives & Guidelines for additional information regarding the work of this Section.

UPDATE  -  4 Sep 1997

Include any requirements which are common to Sections of this Division in one of the minor Sections under the major Section heading, 16050.  Do not add them to each individual Section.

PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Perform excavating and backfilling work required by work of this Division.

Delete paragraph 2 if Section 07840 not included in Project Manual.

2.
Furnish and install firestopping material at penetrations through fire rated structures and draft stops.

 1.2
SUBMITTALS
A.
Product Data

Edit listing in paragraph 1 to correspond with Project requirements.

1.
Submit for following -

a.
Wiring devices

b.
Disconnects

c.
Panelboards

d.
Motor starters

e.
Lighting fixtures, poles, and associated control equipment

f.
Emergency lighting packs

2.
Provide following information for each item of equipment -

a.
Catalog Sheets.

b.
Assembly details or dimension drawings.

c.
Installation instructions.

d.
Manufacturer's name and catalog number

e.
Name of local supplier.

3.
Do not purchase equipment before approval of product data.

C.
Shop Drawings  -  Panelboards

D.
Closeout Submittals

1.
Operations & Maintenance Manual Data -

a.
General-

1)
Provide operating and maintenance instructions for each item of equipment submitted under Product Data.

Delete paragraph 2) if no shop drawings specified for submission above.

2)
Include copy of approved shop drawings.

 1.3
QUALITY ASSURANCE
A.
Requirements of Regulatory Agencies

1.
NEC and local ordinances and regulations shall govern unless more stringent requirements are specified.

2.
Material and equipment provided shall meet standards of NEMA or UL, and bear their label wherever standards have been established and label service is available.

PART 2 PRODUCTS  -  Not Used

PART 3 EXECUTION
 3.1
EXAMINATION
A.
Confirm dimensions, ratings, and specifications of equipment to be installed and coordinate these with site dimensions and with other Sections.

 3.2
INSTALLATION
Edit or delete items on list in Paragraph A to fit Project circumstances.  This information may be deleted from the Project Manual and shown in a schedule on the Drawings, if desired.

A.
Mounting Heights

1.
Unless otherwise indicated, mount center of outlets or boxes at following heights above finish floor -

a.
Other Motor Disconnects  -  60 inches

b.
Distribution Panels  -  72 inches to top

c.
Receptacles  -  18 inches

d.
Switches  -  42 inches

e.
Wall-Mounted Exit Lights  -  90 inches

f.
Telephone Board  -  60 inches

g.
Telephones (desk type)  -  18 inches

h.
Telephones (wall type)  -  48 inches

i.
Push Buttons  -  74 inches

j.
Bells  -  86 inches

2.
Refer special conditions to Architect before rough-in and locate outlet under his direction.

 3.3
FIELD QUALITY CONTROL
A.
Site Tests  -  Test systems and demonstrate equipment as working and operating properly.  Notify Architect prior to test.  Rectify defects at no additional cost to Owner.


END OF SECTION

RENOVATE BOOKSTORE/
16055-1
General Electrical Requirements

STUDENT SERVICES AREA


SUNY College at Old Westbury

SUCF Project No. 31221-808P1

